## Responsibilities
Incentives and Rebates Appendix - Roles and Responsibilities
Incentive Process Task | Owner | Architect | Mechanical Design | Kitchen Design | Electrical Design | Commissioning Agent | Evergreen Lighting Outreach (1) | Nexant Outreach Team (1)
Getting necessary information from Owner for Applications and Agreements |  | x
Signing General Applications | x
Become EEA Participants (required) |  | x | x | x | x |  |  | x
Ultimate responsibility for insuring the various design disciplines perform their assigned tasks |  | x
Responsible parties assigned per discipline, firm or organization |  | x | [5 empty] | x
Keeps Architect appraised of progress of incentive processing | [7 empty] | x
Fill out RMP tools for any prescriptive measures involving the building envelope that have tools |  | x
Envelope tools automatically create applications for incentives, send these to Nexant Outreach Team |  | x | [5 empty] | x
Identify all features of the building envelope that are eligible for prescriptive incentives (no tools req'd) |  | x
Get list of all envelope prescriptive measures to Nexant Outreach Team |  | x
Get COMcheck for envelope to Nexant Outreach Team |  | x
Fill out RMP tools for all prescriptive measures involving mechanical systems that have tools |  |  | x
Mechanical tools automatically create applications for incentives, send these to Nexant Outreach Team |  |  | x |  |  |  |  | x
Identify all mechanical systems (gas and electric) that are eligible for prescriptive incentives (no tools req'd) |  |  | x
Get list of all mechanical prescriptive measures to Nexant Outreach Team |  |  | x
Get Mechanical equipment schedule drawing to Nexant Outreach Team |  |  | x
Identify all Kitchen equipment (gas and electric) that is eligible for prescriptive incentives (no tools req'd) |  |  |  | x
Get list of all kitchen prescriptive measures to Nexant Outreach Team |  |  |  | x
Fill out RMP tools for all prescriptive measures involving lighting systems that have tools |  |  |  |  | x |  | x
Lighting tools automatically create applications for incentives, submit these to Evergreen Outreach Team |  |  |  |  | x |  | x
Identify all lighting that is eligible for prescriptive incentives (no tools req'd) |  |  |  |  | x |  | x
Get list of all lighting prescriptive measures to Evergreen Outreach |  |  |  |  | x
Get COMcheck for lighting to Evergreen Outreach |  |  |  |  | x
Evergreen Outreach should share lighting measures included in the project with Nexant Outreach for tracking | [6 empty] | x | x
A compiled list of all prescriptive measures in the project is provided by Nexant to the Commissioning Agent | [7 empty] | x
Gather all final submittal data needed by Nexant Outreach Team (Envelope, mechanical, kitchen and electrical) | [5 empty] | x
Deliver all final submittal data to Nexant Outreach team | [5 empty] | x
Obtain AHRI certificates where applicable | [7 empty] | x
Incentives for PC management, smart plug strips, laundry machines and other appliances | x
Notes: (1) please go to http://rockymountainpower.energyefficiencyalliance.net/tradeally/TA/RMP/jspx/Forms.jspx |  |  |  | design phase
construction phase

## Measures
Appendix Y - Quantity/Specs of Qualified Typical Measures in Project
Exists in design? |  |  | Responsible Party | Project Name: | Utility |  | Person filling out form: |  |  | Add lines as necessary to define multiple units or different qualifying parameters (e.g. size, hp.)
| Qualified? | Tool? |  |  |  |  | Phone:
|  |  |  | Typical Energy Efficiency Measures | RMP | QG | Size | Other Spec | Quantity | Notes
|  | Y | Arch | Cool roof | x |  |  |  | SF
|  | Y | Arch | Increased wall insulation | x | x | R |  | SF
|  | Y | Arch | Increased roof insulation | x | x | R |  | SF
|  | Y | Arch | High efficiency windows | x | x |  |  | SF
|  |  | Arch | Window film | x |  |  |  | SF
wattsmart HVAC
|  | Y | Mech | High efficiency Unitary HVAC | x |  | btuh | EER | ea.
|  | Y | Mech | High efficiency heat pumps | x |  | btuh | EER | ea.
|  | Y | Mech | High efficiency chillers | x |  | tons | IPLV (kW/Ton) | ea.
|  | Y | Mech | IDEC systems | x |  | cfm |  | ea.
|  | Y | Mech | Evaporative cooling systems | x |  | cfm |  | ea.
|  | Y | Mech | VFD air compressors | x |  | hp |  | ea.
|  | Y | Mech | Electrically commutated motors (ECMs) | x |  | hp |  | ea.
|  | Y | Mech | HVAC pump VFDs | x |  | hp |  | ea.
|  | Y | Mech | HVAC fan VFDs | x |  | hp |  | ea.
|  | Y | Mech | High efficiency PTAC | x |  | btuh | EER | ea.
|  | Y | Mech | High efficiency PTHP | x |  | btuh | EER | ea.
|  | Y | Mech | High efficiency AC | x |  | btuh | EER | ea.
|  | Y | Mech | Evaporative coolers | x |  | cfm |  | ea.
|  |  | Mech | Programmable thermostats (365 day for portable classrooms) | x |  | na |  | ea.
|  |  | Mech | Occupancy based PTHP/PTAC controls | x |  | na |  | ea.
|  |  | Mech | Appliances and Office Equipment | x |  | na |  | ea.
ThermWise Rebates
|  |  | Mech | Outside air temperature based reset controls |  | x | na |  | ea. | Only where not required by Code
|  |  | Mech | Gas burning unit heaters |  | x | btuh |  | ea.
|  |  | Mech | Gas burning infrared heaters |  | x | btuh |  | ea.
|  |  | Mech | Gas burning furnaces |  | x | btuh |  | ea.
|  |  | Mech | Gas burning boilers |  | x | btuh |  | ea.
|  |  | Mech | Gas fired water heaters |  | x | btuh |  | ea.
|  |  | Mech | Storage type water heaters |  | x | btuh |  | ea.
|  |  | Mech | Tankless water heaters |  | x | btuh |  | ea.
|  |  | Mech | Condensing water heaters |  | x | btuh |  | ea.
|  |  | Mech | Hybrid gas storage water heaters |  | x | btuh |  | ea.
|  |  | Mech | Direct contact water heaters |  | x | btuh |  | ea.
wattsmart Food Service
|  |  | Kitch/Mech | Efficient electric steam cooker | x |  |  |  | ea.
|  |  | Kitch/Mech | Efficient electric convection oven | x |  |  |  | ea.
|  |  | Kitch/Mech | Efficient electric combination oven | x |  |  |  | ea.
|  |  | Kitch/Mech | Efficient electric griddle | x |  |  |  | ea.
|  |  | Kitch/Mech | Efficient electric commercial fryer | x |  |  |  | ea.
|  |  | Kitch/Mech | Insulated holding cabinet | x |  |  |  | ea.
|  |  | Kitch/Mech | High efficiency Commercial Dishwasher | x |  |  |  | ea.
|  |  | Kitch/Mech | High efficiency Glass door refrigerator | x |  |  |  | ea.
|  |  | Kitch/Mech | High efficiency Glass door freezer | x |  |  |  | ea.
|  |  | Kitch/Mech | High efficiency Solid door refrigerator | x |  |  |  | ea.
|  |  | Kitch/Mech | High efficiency Solid door freezer | x |  |  |  | ea.
|  |  | Kitch/Mech | Ice machines (air cooled) | x |  |  |  | ea.
|  |  | Kitch/Mech | High efficiency residential dishwasher or refrigerator used in business | x |  |  |  | ea.
|  |  | Elec | LED case lighting | x |  |  |  | ea.
|  |  | Kitch/Mech | Refrigerated case occupancy sensor | x |  |  |  | ea.
ThermWise Food Service
|  |  | Kitch/Mech | Efficient Gas Commercial Fryer |  | x |  |  | ea.
|  |  | Kitch/Mech | Efficient Gas Steam cooker |  | x |  |  | ea.
|  |  | Kitch/Mech | Efficient Gas Convection Oven |  | x |  |  | ea.
|  |  | Kitch/Mech | Efficient Gas Griddle |  | x |  |  | ea.
|  |  | Kitch/Mech | High efficiency pre-rinse spray valve |  | x |  |  | ea.
wattsmart Lighting
|  | Y | Elec | Lighting (New Construction - Major Renovation) | x |  | Lighting Incentive Catalog |  |  | New Const. Lighting Application Process
|  | Y | [7 empty] | Lighting - Post-purchase application
|  | Y | Elec | Lighting (Retrofit) PRE-INSTALLATION INSPECTION REQUIRED* | x |  | Lighting Incentive Catalog |  |  | RMP Retrofit Lighting Application Process
wattsmart Business General Application
Yes | Yes
No | No
Note on F4: Dooley, William: Rocky Mountain Power
Note on G4: Dooley, William: Questar Gas

## Req. Submittals
Appendix Z - Submittal Requirements by Measure
Prescriptive Energy Efficiency Measure | Utility |  | Spec Docs | Proof of Payment | Utah Incentive Submittal Requirements
| RMP | QG |  |  | RMP Non-Lighting Post-Purchase Incentive Application Process
Cool roof | x |  |  |  | RMP: Building Envelope
Wall/Roof Insulation (New Construction) | x |  |  |  | RMP: Building Envelope
|  | x |  |  | QG: Roof/Wall Insulation (New Construction) application
Wall/Roof Insulation (Retrofit) | x |  |  |  | RMP: Building Envelope
|  | x |  |  | QG: Roof/Wall Insulation (Retrofit) application
High Efficiency Windows (New Construction) | x |  |  |  | RMP: Building Envelope
|  | x |  |  | QG: Windows (New Construction) application
High efficiency windows (Retrofit) | x |  |  |  | RMP: Building Envelope
|  | x |  |  | QG: Windows (Retrofit) application
Window film (Retrofit Only) | x |  |  |  | RMP: Building Envelope
wattsmart HVAC
High efficiency Unitary HVAC | x |  |  |  | HVAC – Air-conditioners & Heat Pumps application
High efficiency heat pumps | x |  |  |  | HVAC – Air-conditioners & Heat Pumps application
High efficiency chillers | x |  |  |  | HVAC - Chiller application
IDEC systems | x |  |  |  | Direct/Indirect Evaporative Cooling application
Evaporative cooling systems | x |  |  |  | Direct/Indirect Evaporative Cooling application
VFD air compressors | x |  |  |  | Compressed Air application
Electrically commutated motors (ECMs) | x |  |  |  | Motors & VFDs application
HVAC pump VFDs | x |  |  |  | Motors & VFDs application
HVAC fan VFDs | x |  |  |  | Motors & VFDs application
High efficiency PTAC | x |  |  |  | HVAC - Misc. application
High efficiency PTHP | x |  |  |  | HVAC - Misc. application
High efficiency AC | x |  |  |  | HVAC - Misc. application
Evaporative coolers | x |  |  |  | Evaporative Cooling application
Programmable thermostats (365 day for portable classrooms) | x |  |  |  | HVAC - Misc. application
Occupancy based PTHP/PTAC controls | x |  |  |  | HVAC - Misc. application
Appliances and Office Equipment | x |  |  |  | Appliances and Office Equipment application
ThermWise Rebates
Outside air temp. based reset controls |  | x |  |  | ThermWise HVAC application
Gas burning unit heaters |  | x |  |  | ThermWise HVAC application
Gas burning infrared heaters |  | x |  |  | ThermWise HVAC application
Gas burning furnaces |  | x |  |  | ThermWise HVAC application
Gas burning boilers |  | x |  |  | ThermWise HVAC application
Storage type water heaters |  | x |  |  | ThermWise HVAC application
Gas fired water heaters |  | x |  |  | ThermWise Water Heater application
Tankless water heaters |  | x |  |  | ThermWise Water Heater application
Condensing water heaters |  | x |  |  | ThermWise Water Heater application
Hybrid gas storage water heaters |  | x |  |  | ThermWise Water Heater application
Direct contact water heaters |  | x |  |  | ThermWise Water Heater application
wattsmart Food Service
Efficient electric steam cooker | x |  |  |  | Food Service - Cooking Equipment application
Efficient electric convection oven | x |  |  |  | Food Service - Cooking Equipment application
Efficient electric combination oven | x |  |  |  | Food Service - Cooking Equipment application
Efficient electric commercial fryer | x |  |  |  | Food Service - Cooking Equipment application
High efficiency Commercial Dishwasher | x |  |  |  | Food Service - Cooking Equipment application
Insulated holding cabinet | x |  |  |  | Food Service - Cooking Equipment application
Ice machines (air cooled) | x |  |  |  | Food Service - Dishwashers application
High efficiency residential dishwasher or refrigerator used in a business | x |  |  |  | Food Service - Refrigerators, Freezers & Ice Machines
High efficiency Glass door refrigerator | x |  |  |  | Food Service - Refrigerators, Freezers & Ice Machines
High efficiency Glass door freezer | x |  |  |  | Food Service - Refrigerators, Freezers & Ice Machines
High efficiency Solid door refrigerator | x |  |  |  | Food Service - Refrigerators, Freezers & Ice Machines
High efficiency Solid door freezer | x |  |  |  | Food Service - Refrigerators, Freezers & Ice Machines
LED case lighting | x |  |  |  | Food Service - Refrigerated Case Lighting application
Refrigerated case occupancy sensor | x |  |  |  | Food Service - Refrigerated Case Lighting application
ThermWise Food Service
Efficient Gas Commercial Fryer |  | x |  |  | ThermWise Food Service Equipment Application
Efficient Gas Steam cooker |  | x |  |  | ThermWise Food Service Equipment Application
Efficient Gas Convection Oven |  | x |  |  | ThermWise Food Service Equipment Application
Efficient Gas Griddle |  | x |  |  | ThermWise Food Service Equipment Application
High efficiency pre-rinse spray valve |  | x |  |  | ThermWise Food Service Equipment Application
wattsmart Lighting
Lighting (New Construction - Major Renovation) | x |  | Lighting Incentive Catalog |  | New Const. Lighting Application Process
Lighting - Post-purchase application
Lighting (Retrofit) PRE-INSTALLATION INSPECTION REQUIRED* | x |  | Lighting Incentive Catalog |  | RMP Retrofit Lighting Application Process
wattsmart Business General Application